## Overview
Crosswalk: NGBS Green and GRESB Real Estate Assessment
Revised April 2023
Introduction
This document shows the overlap between the 2020 NGBS and the 2023 GRESB Real Estate Assessment. This crosswalk provides an outline of the 2023 GRESB Real Estate Assessment indicators that can be met by specific NGBS practices across the four different scoring paths: New Construction, Land Development, Existing Buildings, and Single-Family Certified. This document serves as a guide for those interested in understanding how NGBS Green certification can bolster GRESB scoring and rankings. This Crosswalk ONLY analyzes the "Development" section of the GRESB Real Estate Assessment, as it is the most relevant section to the NGBS Green program.
Tab Overview
NGBS New Construction: shows the specific GRESB indicators that the 2020 NGBS New Construction Practices and NGBS Green+ certifications would fulfill NGBS Land Development: shows the specific GRESB indicators that the NGBS Land Development Certification (stand-alone) would fulfill NGBS Existing Building: shows the specific GRESB indicators that the 2020 NGBS Existing Buildings practices and NGBS Green+ certifications would fulfill NGBS Certified Path: shows the specific GRESB indicators that the NGBS Certified Path fulfills Point Calculator: this tab has 4 different charts for each of the NGBS Green Certifications; it shows the potential GRESB points that can be met for each indicator, if ALL of the NGBS Green practices/ certifications listed in the crosswalk are met. The note tab provides an explanation if the total point maximum is not met for the GRESB indicator Green Certified Products: this tab lists products certified under the 2020 NGBS practices listed in the GRESB Crosswalk; GRESB indicators may be fulfilled by using the corresponding products across the company's portfolio
Key
Column A: applicable GRESB indicators from the "Development" section; all answer options for the indicator are listed Column B: the checkmark icon in this column indicates that there is an alignment between the GRESB indicator and NGBS practice(s) If there is no checkmark icon in Column B, that means there is no NGBS practice that fulfills that GRESB answer option Column C: applicable 2020 NGBS practice or certification NGBS Alignment with indicator: this row shows the percentage of answers in the GRESB indicator that are fulfilled by an NGBS Green practice or NGBS Green+ Certification
Resources
2022 GRESB Real Estate Reference Guide
2023 GRESB Real Estate Reference Guide
2023 GRESB Real Estate Standard List of Changes Summary Table
NGBS Green Land Development Flyer
NGBS Green Good for Investors Flyer
NGBS Green+ Compliance Handbook
NGBS Green Certification & Commissioning
Water Rating Index (WRI) Webpage
All rights reserved. This document is protected by the U.S. copyright law. Home Innovation authorizes the use of this document only by those individuals/ organizations participating in Home Innovation's NGBS Green Program and solely for purpose of seeking NGBS Green certification from the Home Innovation Research Labs.
© Home Innovation Research Labs, Inc., 2022. All rights reserved.

## NGBS New Construction
GRESB Indicator |  | 2020 NGBS Practice or NGBS Green+ Certification | NGBS Green Certified Products
DRE1 ESG strategy during development |  | NGBS
◊ Biodiversity and habitat | ☑️ | 503.1 Natural Resources, 503.6 Wildlife Habitat and 503.7 (2) Environmentally Sensitive Areas
◊ Building safety
◊Climate/climate change adaptation
◊ Energy consumption | ☑️ | 706.1 Energy Consumption Control
◊Green building certifications | ☑️ | NGBS Green Building Certification (Bronze, Silver, Gold or Emerald)
◊ Greenhouse gas emissions
◊ Health and well-being | ☑️ | NGBS Green+ WELLNESS Certification
◊ Indoor environmental quality | ☑️ | 904 Indoor Air Quality
◊ Life-cycle assessments/embodied carbon | ☑️ | 610 Life Cycle Assessment | See 610 List
◊ Location and transportation | ☑️ | 501.2 Multi-modal transportation
◊ Material sourcing | ☑️ | 608.1 Resource-Efficient Materials and 609.1 Regional Materials | See 609.1 List
◊ Net-zero/carbon neutral design | ☑️ | NGBS Green+ NET ZERO ENERGY Certification
◊ Pollution prevention | ☑️ | 902 Pollutant Control
◊ Renewable energy | ☑️ | 706.2 Renewable Energy Service Plan and 706.5 On-site renewable energy system | See 902 List
◊ Resilience to catastrophe/disaster | ☑️ | 613 Resilient Construction and NGBS Green+ RESILIENCE Certification
◊ Site selection and land use | ☑️ | 501.1 Lot
◊ Sustainable procurement | ☑️ | 612.2 Sustainable Products
◊ Waste management | ☑️ | 605.2 Construction Waste Management Plan
◊ Water consumption | ☑️ | Water Rating Index (WRI) Score and NGBS Green+ ZERO WATER
NGBS Alignment with indicator DRE1 | 84.21%
DRE2 Site selection requirements |  | NGBS
◊ Connect to multi-modal transit networks | ☑️ | 501.2 Multi-modal transportation
◊ Locate projects within existing developed areas | ☑️ | 501.1 Lot
◊ Protect, restore, and conserve aquatic ecosystems | ☑️ | 503.7 (2) Environmentally Sensitive Areas
◊ Protect, restore, and conserve farmland | ☑️ | 503.7 (2) Environmentally Sensitive Areas
◊ Protect, restore, and conserve floodplain functions | ☑️ | 503.4 Stormwater Management
◊ Protect, restore, and conserve habitats for native, threatened and endangered species | ☑️ | 503.6 Wildlife Habitat
◊ Protect, restore, and conserve historical and heritage sites
◊ Redevelop brownfield sites | ☑️ | 501.1 (2)(c) Lot
NGBS Alignment with indicator DRE2 | 87.5%
DRE3 Site Design and Construction Requirements |  | NGBS
◊ Manage waste by diverting construction and demolition materials from disposal | ☑️ | 503.8 Demolition of Existing Building and 605 Recycled Construction Waste
◊ Manage waste by diverting reusable vegetation, rocks, and soil from disposal | ☑️ | 605.3 (a) On-Site Recycling
◊ Minimize light pollution to the surrounding community
◊ Minimize noise pollution to the surrounding community
◊ Perform environmental site assessment | ☑️ | 503.4 Stormwater Management and 503.1 Natural resources
◊ Protect air quality during construction
◊ Protect and restore habitat and soils disturbed during construction and/or during previous development | ☑️ | 504.3 Soil Disturbance and Erosion Implementation
◊ Protect surface water and aquatic ecosystems by controlling and retaining construction pollutants | ☑️ | 504.3 Soil Disturbance and Erosion Implementation
NGBS Alignment with indicator DRE2 | 62.5%
DMA1 Materials selection requirements |  | NGBS
Requirement for disclosure about the environmental and/or health attributes of building materials
◊ Environmental Product Declarations | ☑️ | 611.1 Product Declarations | See 611.1 List
◊ Health Product Declarations
Material characteristics specification
◊ Locally extracted or recovered materials | ☑️ | 609.1 Regional Materials | See 609.1 List
◊ Low embodied carbon materials | ☑️ | 606.3 Manufacturing Energy and 610 Life Cycle Assessment | See 606.3 List | See 610 List
◊ Low-emitting VOC materials | ☑️ | 901.4 Wood Materials, 901.5 Cabinets, 901.7 Floor Materials, 901.8 Wall Coverings, 901.9 Interior Architectural Coatings, 901.10 Interior Adhesives and Sealants, 901.11 Insulation, 901.12 Furniture and Furnishings | See 901.4 List | See 901.5 List | See 901.8 List | See 901.11 List
◊ Materials and packaging that can easily be recycled | ☑️ | 605.4 Recycled Construction Materials
◊ Materials that disclose environmental impacts | ☑️ | 610 Life Cycle Assessment | See 610 List
◊ Materials that disclose potential health hazards
◊ Rapidly renewable materials and recycled content materials | ☑️ | 604 Recycled- Content Building Materials | See 604 List
◊ “Red list” of prohibited materials or ingredients that should not be used on the basis of their human and/or environmental impacts
◊ Third-party certified wood-based materials and products | ☑️ | 606.2 Wood-Based Products | See 606.2 List
NGBS Alignment with indicator DRE2 | 72.73%
DMA2.1 Life cycle assessments |  | NGBS
Does the entity assess the life cycle emissions of its development projects? | ☑️ | Section 610 Life Cycle Assessment | See 610 List
NGBS Alignment with indicator DRE2 | 100%
DEN1 Energy efficiency requirements |  | NGBS
Requirements for planning and design include
◊ Development and implementation of a commissioning plan
◊ Integrative design process | ☑️ | Chapter 7
◊ To exceed relevant energy codes or standards | ☑️ | Chapter 7
◊ Requirements for minimum energy use intensity post-occupancy
Common energy efficiency measures
◊ Air conditioning | ☑️ | 701.4.1.1 HVAC Systems, 703.3 HVAC Equipment Efficiency and 705.5 HVAC Design and Installation
◊ Commissioning
◊ Energy modeling
◊ High-efficiency equipment and appliances | ☑️ | 703.6.2 Appliances
◊ Lighting | ☑️ | 705.2 Lighting
◊ Occupant controls | ☑️ | 705.2.1 Lighting Controls and 706.1 Energy Consumption Controls
◊ Passive Design | ☑️ | 703.7.3 Passive Cooling Design and 703.7.4 Passive Solar Heating Design
◊ Space Heating | ☑️ | 703.3 HVAC Equipment Efficiency
◊ Ventilation
◊ Water Heating | ☑️ | 703.5.1 Water Heating System
Operational energy efficiency monitoring
◊ Building energy management systems | ☑️ | 706.1 Energy Consumption Control
◊ Energy use analytics | ☑️ | 706.14 Third Party Utility Benchmarking
◊ Post-construction energy monitoring | ☑️ | 1004.1 (2) Verification System
◊ Sub-meter | ☑️ | 705.7 Submetering System
NGBS Alignment with indicator DRE2 | 72.22%
DEN2.1 On-site renewable energy |  | NGBS
◊ Average design target for the fraction of total energy demand met with on-site renewable energy | ☑️ | 706.5 On-Site Renewable Energy System
NGBS Alignment with indicator DRE2 | 100%
DEN2.2 Net zero carbon design and standards |  | NGBS
Does the entity’s portfolio include any buildings designed to meet net zero carbon?
The entity’s definition of “net zero carbon” includes:
◊Net zero carbon - construction | ☑️ | NGBS Green+ NET ZERO ENERGY
◊Net zero carbon - operational energy
◊Other: ____________
The entity uses net zero carbon code/standard:
◊National/local green building council standard | ☑️ | NGBS Green+ NET ZERO ENERGY
◊National/local government standard
◊International standard
◊Other: ____________
NGBS Alignment with indicator DEN2.2 | 100%
DWT1 Water conservation strategy |  | NGBS
Requirements for planning and design
◊ Development and implementation of a commissioning plan | ☑️ | Chapter 8, Water Rating Index (WRI) Score and NGBS Green+ ZERO WATER
◊ Integrative design for water conservation | ☑️ | Chapter 8, Water Rating Index (WRI) Score and NGBS Green+ ZERO WATER
◊ Requirements for indoor water efficiency | ☑️ | Chapter 8, Water Rating Index (WRI) Score and NGBS Green+ ZERO WATER
◊ Requirements for outdoor water efficiency | ☑️ | Chapter 8, Water Rating Index (WRI) Score and NGBS Green+ ZERO WATER
◊ Requirements for process water efficiency | ☑️ | Chapter 8, Water Rating Index (WRI) Score and NGBS Green+ ZERO WATER
◊ Requirements for water supply | ☑️ | Chapter 8, Water Rating Index (WRI) Score and NGBS Green+ ZERO WATER
◊ Requirements for minimum water use intensity post-occupancy
Common water efficiency measures
◊ Commissioning of water systems | ☑️ | 802.6.5 Commissioning and Water Use Reduction for Irrigation Systems
◊ Drip/smart irrigation | ☑️ | 802.6.3 Drip Irrigation and 802.6.4 (1) Smart Irrigation Controller
◊ Drought tolerant/low-water landscaping | ☑️ | 503.5 (1),(4),(5) Landscape Plan
◊ High-efficiency/dry fixtures | ☑️ | 802.2 Water-Conserving Appliances
◊ Leak detection system | ☑️ | 803.3 Automatic Leak Detection and Control Devices
◊ Occupant sensors | ☑️ | 802.5.3 Self-Closing Valve, Motion Sensor, Metering or Pedal Activated Faucet
◊ On-site wastewater treatment | ☑️ | 803.6 Advanced Wastewater Treatment System
◊ Reuse of stormwater and greywater for non-potable applications | ☑️ | 803.1 Reclaimed, Grey or Recycled Water and 802.7 Rainwater Collection and Distribution
Operational water efficiency monitoring
◊ Post-construction water monitoring
◊ Sub-meter | ☑️ | 802.3 Water Usage Metering
◊ Water use analytics
NGBS Alignment with indicator DRE2 | 83.33%
DWS1 Waste management strategy |  | NGBS
Management and construction practices
Construction waste signage
Diversion rate requirements | ☑️ | 605.2 Construction Waste Management Plan
Education of employees/contractors on waste management | ☑️ | 1002.2 (5) Operations Manual
Incentives for contractors for recovering, reusing and recycling building materials
Targets for waste stream recovery, reuse and recycling
Waste management plans | ☑️ | 605.2 Construction Waste Management Plan
Waste separation facilities | ☑️ | 607.1 Recycling and Composting
On-site waste monitoring
Hazardous waste monitoring/audit | ☑️ | 605.1 Hazardous Waste
Non-hazardous waste monitoring/audit | ☑️ | 605.2 Construction Waste Management Plan
NGBS Alignment with indicator DRE2 | 66.67%
DSE1 Health and Well-being |  | NGBS
Requirements for planning and design
◊ Health Impact Assessment
◊ Integrated planning process
◊ Other planning processes
Common occupant health and well-being measures
◊ Acoustic comfort | ☑️ | 905.4 Sound Barrier
◊ Active design features | ☑️ | 501.2 Multi-Modal Transportation, 505.4 Mixed-Use Development, 505.10 Exercise and Recreational Space
◊ Biophilic design | ☑️ | 606.1 Biobased Products; 505.2 Heat Island Mitigation; 505.5 Community Garden | See 606.1 List | See 505.2 List
◊ Commissioning | ☑️ | 705.5.1 HVAC Design and Installation and 705.6.1 Installation and Performance Verification
◊ Daylight | ☑️ | 703.2.5 Fenestration and 703.7.2 Window Shading and 705.2.2 TDDs and Skylights
◊ Ergonomic workplace
◊ Humidity | ☑️ | 905.1 Humidity Monitoring System and 903.3 Relative Humidity | See 903.3 List
◊ Illumination | ☑️ | 505.10 (c) Active Play/ Recreation areas are illuminated at night and 705.2.1.2 Exterior Lighting
◊ Inclusive design | ☑️ | 612.3 Universal Design Elements and NGBS Green+ UNIVERSAL DESIGN
◊ Indoor air quality | ☑️ | 905.3 Enhanced Air Ventilations
◊ Natural ventilation | ☑️ | 902.1 Spot Ventilation and 902.2 Building Ventilation Systems | See 902 List
◊ Occupant controls | ☑️ | 612.3(9) Universal Design and 705.2.1 Lighting Controls
◊ Physical activity | ☑️ | 505.10 Exercise and Recreational Space
◊ Thermal comfort | ☑️ | 706.1 Energy Consumption Control
◊ Water quality | ☑️ | 802.9 Water Treatment Devices
Provisions to verify health and well-being performance include
◊ Occupant education | ☑️ | 1001.2 Training of Initial Homeowners OR 1002.6 Training of Multifamily Occupants
◊ Post-construction health and well-being monitoring (e.g. occupant comfort and satisfaction)
NGBS Alignment with indicator DRE2 | 70%
DBC1.1 Green building standard requirements |  | NGBS
Does the entity’s development portfolio include projects that are aligned with green building rating standards?
◊ 1-The entity requires projects to align with requirements of a third-party green building rating system but does not require certification
◊ 2-The entity requires projects to achieve certification with a green building rating system but does not require a specific level of certification
◊ 3-The entity requires projects to achieve a specific level of certification | ☑️ | NGBS Green Building Certification (Bronze, Silver, Gold or Emerald)
NGBS Alignment with indicator DBC1.1 | 100%

## NGBS Existing Building
GRESB Indicator |  | 2020 NGBS Existing Building Practice and NGBS Green+ Certification
DRE1 ESG strategy during development |  | NGBS
◊ Biodiversity and habitat | ☑️ | 11.503.1 Natural Resources, 11.503.6 Wildlife Habitat and 11.503.7 (2) Environmentally Sensitive Areas
◊ Building safety
◊Climate/climate change adaptation
◊ Energy consumption | ☑️ | 11.706.1 Energy Consumption Control
◊Green building certifications | ☑️ | NGBS Green Building Certification (Bronze, Silver, Gold or Emerald)
◊ Greenhouse gas emissions
◊ Health and well-being | ☑️ | NGBS Green+ WELLNESS Certification
◊ Indoor environmental quality | ☑️ | 11.904 Indoor Air Quality
◊ Life-cycle assessments/embodied carbon | ☑️ | 11.610 Life Cycle Assessment
◊ Location and transportation | ☑️ | 11.501.2 Multi-Modal Transportation
◊ Material sourcing | ☑️ | 11.608.1 Resource-Efficient Materials and 11.609.1 Regional Materials
◊ Net-zero/carbon neutral design | ☑️
◊ Pollution prevention | ☑️ | 11.902 Pollutant Control
◊ Renewable energy | ☑️ | 11.706.2 Renewable Energy Service Plan
◊ Resilience to catastrophe/disaster | ☑️ | NGBS Green+ RESILIENCE Certification
◊ Site selection and land use
◊ Sustainable procurement | ☑️ | 11.612.2 Sustainable Products
◊ Waste management | ☑️ | 11.605.2 Construction Waste Management Plan
◊ Water consumption
NGBS Alignment with indicator DRE1 | 78.95%
DRE2 Site selection requirements |  | NGBS
◊ Connect to multi-modal transit networks | ☑️ | 11.501.2 Multi-Modal Transportation
◊ Locate projects within existing developed areas
◊ Protect, restore, and conserve aquatic ecosystems | ☑️ | 11.503.7 (2) Environmentally Sensitive Areas
◊ Protect, restore, and conserve farmland | ☑️ | 11.503.7 (2) Environmentally Sensitive Areas
◊ Protect, restore, and conserve floodplain functions | ☑️ | 11.503.4 Stormwater Management
◊ Protect, restore, and conserve habitats for native, threatened and endangered species | ☑️ | 11.503.6 Wildlife Habitat
◊ Protect, restore, and conserve historical and heritage sites
◊ Redevelop brownfield sites
NGBS Alignment with indicator DRE2 | 62.5%
DRE3 Site Design and Construction Requirements |  | NGBS
◊ Manage waste by diverting construction and demolition materials from disposal | ☑️ | 11.605 Recycled Construction Waste
◊ Manage waste by diverting reusable vegetation, rocks, and soil from disposal | ☑️ | 11.605.3 (a) On-Site Recycling
◊ Minimize light pollution to the surrounding community
◊ Minimize noise pollution to the surrounding community
◊ Perform environmental site assessment | ☑️ | 11.503.4 Stormwater Management and 503.1 Natural Resources
◊ Protect air quality during construction
◊ Protect and restore habitat and soils disturbed during construction and/or during previous development | ☑️ | 11.504.3 Soil Disturbance and Erosion Implementation
◊ Protect surface water and aquatic ecosystems by controlling and retaining construction pollutants | ☑️ | 11.504.3 Soil Disturbance and Erosion Implementation
NGBS Alignment with indicator DRE2 | 62.5%
DMA1 Materials selection requirements |  | NGBS
Requirement for disclosure about the environmental and/or health attributes of building materials
◊ Environmental Product Declarations | ☑️ | 11.611.1 Product Declarations
◊ Health Product Declarations
Material characteristics specification
◊ Locally extracted or recovered materials | ☑️ | 11.609.1 Regional Materials
◊ Low embodied carbon materials | ☑️ | 11.606.3 Manufacturing Energy and 11.610 Life Cycle Assessment
◊ Low-emitting VOC materials | ☑️ | 11.901.4 Wood Materials, 11.901.5 Cabinets, 11.901.7 Floor Materials, 11.901.8 Wall Coverings, 11.901.9 Interior Architectural coatings, 11.901.10 Interior Adhesives and Sealants, 11.901.11 Insulation, 11.901.12 Furniture and Furnishings
◊ Materials and packaging that can easily be recycled | ☑️ | 11.605.4 Recycled Construction Materials
◊ Materials that disclose environmental impacts | ☑️ | 11.610 Life Cycle Assessment
◊ Materials that disclose potential health hazards
◊ Rapidly renewable materials and recycled content materials | ☑️ | 11.604.1 Recycled-Content Building Materials
◊ “Red list” of prohibited materials or ingredients that should not be used on the basis of their human and/or environmental impacts
◊ Third-party certified wood-based materials and products | ☑️ | 11.606.2 Wood-Based Products
NGBS Alignment with indicator DRE2 | 72.73%
DMA2.1 Life cycle assessments |  | NGBS
Does the entity assess the life cycle emissions of its development projects? | ☑️ | 11.610 Life Cycle Assessment
NGBS Alignment with indicator DRE2 | 100%
DEN1 Energy efficiency requirements |  | NGBS
Requirements for planning and design include
◊ Development and implementation of a commissioning plan
◊ Integrative design process | ☑️ | 11.701 Minimum Energy Efficiency Requirements
◊ To exceed relevant energy codes or standards | ☑️ | 11.701 Minimum Energy Efficiency Requirements
◊ Requirements for minimum energy use intensity post-occupancy
Common energy efficiency measures
◊ Air conditioning | ☑️ | 11.701.4.1.1 HVAC Systems, 11.703.3 HVAC Equipment Efficiency and 11.705.5 HVAC Design and Installation
◊ Commissioning | ☑️ | 11.705.5.1 HVAC Design and Installation and 11.705.6.1 Installation and Performance Verification
◊ Energy modeling
◊ High-efficiency equipment and appliances | ☑️ | 11.703.6.2 Appliances
◊ Lighting | ☑️ | 11.705.2 Lighting
◊ Occupant controls | ☑️ | 11.612.3(9) Universal Design, 11.705.2.1 Lighting Controls and 11.706.1 Energy Consumption Controls
◊ Passive Design | ☑️ | 11.703.7.3 Passive Cooling Design and 11.703.7.4 Passive Solar Heating Design
◊ Space Heating | ☑️ | 11.703.3 HVAC Equipment Efficiency
◊ Ventilation
◊ Water Heating | ☑️ | 11.703.5.1 Water Heating System
Operational energy efficiency monitoring
◊ Building energy management systems | ☑️ | 11.706.1 Energy Consumption Control
◊ Energy use analytics | ☑️ | 11.706.14 Third Party Utility Benchmarking
◊ Post-construction energy monitoring | ☑️ | 11.706.14 Third Party Utility Benchmarking
◊ Sub-meter | ☑️ | 11.705.7 Submetering System
NGBS Alignment with indicator DRE2 | 72.22%
DEN2.1 On-site renewable energy |  | NGBS
◊ Average design target for the fraction of total energy demand met with on-site renewable energy | ☑️ | 11.706.5 On-Site Renewable Energy System
NGBS Alignment with indicator DRE2 | 100%
DEN2.2 Net zero carbon design and standards |  | NGBS
Does the entity’s portfolio include any buildings designed to meet net zero carbon?
The entity’s definition of “net zero carbon” includes:
◊Net zero carbon - construction | ☑️ | NGBS Green+ NET ZERO ENERGY
◊Net zero carbon - operational energy
◊Other: ____________
The entity uses net zero carbon code/standard:
◊National/local green building council standard | ☑️ | NGBS Green+ NET ZERO ENERGY
◊National/local government standard
◊International standard
◊Other: ____________
NGBS Alignment with indicator DEN2.2 | 100%
DWT1 Water conservation strategy |  | NGBS
Requirements for planning and design
◊ Development and implementation of a commissioning plan | ☑️ | 11.801, 11.802 Water Efficiency
◊ Integrative design for water conservation | ☑️ | 11.801, 11.802 Water Efficiency
◊ Requirements for indoor water efficiency | ☑️ | 11.801, 11.802 Water Efficiency
◊ Requirements for outdoor water efficiency | ☑️ | 11.801, 11.802 Water Efficiency
◊ Requirements for process water efficiency | ☑️ | 11.801, 11.802 Water Efficiency
◊ Requirements for water supply | ☑️ | 11.801, 11.802 Water Efficiency
◊ Requirements for minimum water use intensity post-occupancy
Common water efficiency measures
◊ Commissioning of water systems | ☑️ | 11.802.6.5 Commissioning and Water Use for Irrigation Systems
◊ Drip/smart irrigation | ☑️ | 11.802.6.3 Drip Irrigation and 11.802.6.4 (1) Smart Irrigation Controller
◊ Drought tolerant/low-water landscaping | ☑️ | 11.503.5 (1), (4), (5) Landscape Plan
◊ High-efficiency/dry fixtures | ☑️ | 11.802.2 Water-Conserving Appliances
◊ Leak detection system | ☑️ | 11.803.3 Automatic Leak Detection and Control Devices
◊ Occupant sensors | ☑️ | 11.802.5.3 Self-Closing Valve, Motion Sensor, Metering or Pedal Activated Faucet
◊ On-site wastewater treatment | ☑️ | 11.803.6 Advanced Wastewater Treatment System
◊ Reuse of stormwater and greywater for non-potable applications | ☑️ | 11.803.1 Reclaimed, Grey or Recycled Water and 11.802.7 Rainwater Collection and Distribution
Operational water efficiency monitoring
◊ Post-construction water monitoring
◊ Sub-meter | ☑️ | 11.802.3 Water Usage Metering
◊ Water use analytics
NGBS Alignment with indicator DRE2 | 83.33%
DWS1 Waste management strategy |  | NGBS
Management and construction practices
Construction waste signage
Diversion rate requirements | ☑️ | 11.605.2 Construction Waste Management Plan
Education of employees/contractors on waste management | ☑️ | 11.1002.2 (5) Operations Manual
Incentives for contractors for recovering, reusing and recycling building materials
Targets for waste stream recovery, reuse and recycling
Waste management plans | ☑️ | 11.605.2 Construction Waste Management Plan
Waste separation facilities | ☑️ | 11.607.1 Recycling and Composting
On-site waste monitoring
Hazardous waste monitoring/audit | ☑️ | 11.605.1 Hazardous Waste
Non-hazardous waste monitoring/audit | ☑️ | 11.605.2 Construction Waste Management Plan
NGBS Alignment with indicator DRE2 | 66.67%
DSE1 Health and Well-being |  | NGBS
Requirements for planning and design
◊ Health Impact Assessment
◊ Integrated planning process
◊ Other planning processes
Common occupant health and well-being measures
◊ Acoustic comfort | ☑️ | 11.905.4 Sound Barrier
◊ Active design features | ☑️ | 11.501.2 Multi-Modal Transportation, 11.505.4 Mixed-Use Development, 11.505.10 Exercise and Recreational Space
◊ Biophilic design | ☑️ | 11.606.1 Biobased Products; 11.505.2 Heat Island Mitigation; 11.505.5 Community Garden
◊ Commissioning
◊ Daylight | ☑️ | 11.703.2.5 Fenestration and 11.703.7.2 Window Shading and 11.705.2.2 TDDs and Skylights
◊ Ergonomic workplace
◊ Humidity | ☑️ | 11.905.1 Humidity Monitoring System and 11.903.3 Relative Humidity
◊ Illumination | ☑️ | 11.505.10 (c) Active Play/ Recreation areas are illuminated at night and 11.705.2.1.2 Exterior lighting
◊ Inclusive design | ☑️ | 11.612.3 Universal Design Elements and NGBS Green+ UNIVERSAL DESIGN
◊ Indoor air quality | ☑️ | 11.905.3 Enhanced Air Ventilations
◊ Natural ventilation | ☑️ | 11.902.1 Spot Ventilation and 11.902.2 Building Ventilation Systems
◊ Occupant controls | ☑️ | 11.612.3(9) Universal Design and 11.705.2.1 Lighting controls
◊ Physical activity | ☑️ | 11.501.2 (3, 4, 5, 6) Multi-Modal Transportation and 11.505.10 Recreational space
◊ Thermal comfort | ☑️ | 11.706.1 Energy Consumption Control
◊ Water quality | ☑️ | 11.802.9 Water Treatment Devices
Provisions to verify health and well-being performance include
◊ Occupant education | ☑️ | 11.1001.2 Training of Initial Homeowners OR 11.1002.6 Training of Multifamily Occupants
◊ Post-construction health and well-being monitoring (e.g. occupant comfort and satisfaction)
NGBS Alignment with indicator DRE2 | 70%
DBC1.1 Green building standard requirements |  | NGBS
Does the entity’s development portfolio include projects that are aligned with green building rating standards?
◊ 1-The entity requires projects to align with requirements of a third-party green building rating system but does not require certification
◊ 2-The entity requires projects to achieve certification with a green building rating system but does not require a specific level of certification
◊ 3-The entity requires projects to achieve a specific level of certification | ☑️ | NGBS Green Building Certification (Bronze, Silver, Gold or Emerald)
NGBS Alignment with indicator DBC1.1 | 100%

## NGBS Single-Family Certified
GRESB Indicator |  | 2020 NGBS Certified Path Practice
DRE1 ESG strategy during development |  | NGBS
◊ Biodiversity and habitat | ☑️ | 1201.4 Regionally Appropriate Vegetation
◊ Building safety
◊Climate/climate change adaptation
◊ Energy consumption | ☑️ | 1203 Energy Efficiency
◊Green building certifications | ☑️ | NGBS Green Building Certification- Certified
◊ Greenhouse gas emissions
◊ Health and well-being
◊ Indoor environmental quality | ☑️ | 1205 Indoor Environmental Quality
◊ Life-cycle assessments/embodied carbon
◊ Location and transportation
◊ Material sourcing
◊ Net-zero/carbon neutral design
◊ Pollution prevention | ☑️ | 1205 Indoor Environmental Quality
◊ Renewable energy
◊ Resilience to catastrophe/disaster
◊ Site selection and land use | ☑️ | 1201 Lot Development
◊ Sustainable procurement
◊ Waste management
◊ Water consumption | ☑️ | 1204 Water Efficiency
NGBS Alignment with indicator DRE1 | 36.84%
DMA1 Materials selection requirements |  | NGBS
Requirement for disclosure about the environmental and/or health attributes of building materials
◊ Environmental Product Declarations
◊ Health Product Declarations
Material characteristics specification
◊ Locally extracted or recovered materials
◊ Low embodied carbon materials
◊ Low-emitting VOC materials | ☑️ | 1205.6 Interior Architectural Coatings
◊ Materials and packaging that can easily be recycled
◊ Materials that disclose environmental impacts
◊ Materials that disclose potential health hazards
◊ Rapidly renewable materials and recycled content materials
◊ “Red list” of prohibited materials or ingredients that should not be used on the basis of their human and/or environmental impacts
◊ Third-party certified wood-based materials and products
NGBS Alignment with indicator DRE2 | 9.091%
DEN1 Energy efficiency requirements |  | NGBS
Requirements for planning and design include
◊ Development and implementation of a commissioning plan
◊ Integrative design process | ☑️ | 1203.10 Energy Performance Pathway, 1203.11 Energy Prescriptive Pathway, 1203.15.1 ERI Target Compliance
◊ To exceed relevant energy codes or standards | ☑️ | 1203.10 Energy Performance Pathway and 1203.15.1 ERI Target Compliance
◊ Requirements for minimum energy use intensity post-occupancy
Common energy efficiency measures
◊ Air conditioning | ☑️ | 1203.12 Space Heating and Cooling and Water Heating System Efficiencies
◊ Commissioning
◊ Energy modeling | ☑️ | 1203.10 Energy Performance Pathway
◊ High-efficiency equipment and appliances | ☑️ | 1203.8 Appliances and 1203.9 Clothes washers
◊ Lighting | ☑️ | 1203.7 and 1203.14 High-efficacy lighting
◊ Occupant controls
◊ Passive Design
◊ Space Heating | ☑️ | 1203.4 Radiant and Hydronic Space Heating or 1203.12 Space Heating and Cooling and Water Heating System Efficiencies
◊ Ventilation | ☑️ | 1205.8 Whole Dwelling Ventilation
◊ Water Heating | ☑️ | 1203.12 Space Heating and Cooling and Water Heating System Efficiencies
Operational energy efficiency monitoring
◊ Building energy management systems
◊ Energy use analytics
◊ Post-construction energy monitoring
◊ Sub-meter
NGBS Alignment with indicator DRE2 | 50%
DWT1 Water conservation strategy |  | NGBS
Requirements for planning and design
◊ Development and implementation of a commissioning plan
◊ Integrative design for water conservation | ☑️ | 1204.4 Alternative Compliance Path (WRI)
◊ Requirements for indoor water efficiency | ☑️ | 1204.1 Lavatory Faucets and 1204.3 Water Closets and 1204.4 Alternative Compliance Path (WRI)
◊ Requirements for outdoor water efficiency | ☑️ | 1204.3 Irrigation Systems and 1204.4 Alternative Compliance Path (WRI)
◊ Requirements for process water efficiency
◊ Requirements for water supply
◊ Requirements for minimum water use intensity post-occupancy
Common water efficiency measures
◊ Commissioning of water systems
◊ Drip/smart irrigation | ☑️ | 1204.3 (1) Irrigation Systems and 1204.4 Alternative Compliance Path (WRI)
◊ Drought tolerant/low-water landscaping | ☑️ | 1204.4 Alternative Compliance Path (WRI)
◊ High-efficiency/dry fixtures | ☑️ | 1204.1 Lavatory Faucets, 1204.3 Water Closets and 1204.4 Alternative Compliance Path (WRI)
◊ Leak detection system
◊ Occupant sensors
◊ On-site wastewater treatment
◊ Reuse of stormwater and greywater for non-potable applications | ☑️ | 1204.4 Alternative Compliance Path (WRI)
Operational water efficiency monitoring
◊ Post-construction water monitoring
◊ Sub-meter
◊ Water use analytics
NGBS Alignment with indicator DRE2 | 38.89%
DSE1 Health and Well-being |  | NGBS
Requirements for planning and design
◊ Health Impact Assessment
◊ Integrated planning process
◊ Other planning processes
Common occupant health and well-being measures
◊ Acoustic comfort
◊ Active design features
◊ Biophilic design
◊ Commissioning
◊ Daylight
◊ Ergonomic workplace
◊ Humidity
◊ Illumination
◊ Inclusive design
◊ Indoor air quality | ☑️ | 1205 Indoor Environmental Quality
◊ Natural ventilation | ☑️ | 1205.7 Local Ventilation and 1205.8 Whole Dwelling Ventilation
◊ Occupant controls
◊ Physical activity
◊ Thermal comfort
◊ Water quality
Provisions to verify health and well-being performance include
◊ Occupant education | ☑️ | 1206.1 Homeowner’s Manual and 1206.2 Training of Initial Homeowners
◊ Post-construction health and well-being monitoring (e.g. occupant comfort and satisfaction)
NGBS Alignment with indicator DRE2 | 15%
DBC1.1 Green building standard requirements |  | NGBS
Does the entity’s development portfolio include projects that are aligned with green building rating standards?
◊ 1-The entity requires projects to align with requirements of a third-party green building rating system but does not require certification
◊ 2-The entity requires projects to achieve certification with a green building rating system but does not require a specific level of certification | ☑️ | NGBS Green Certification - Certified
◊ 3-The entity requires projects to achieve a specific level of certification
NGBS Alignment with indicator DBC1.1 | 100%

## NGBS Land Development
GRESB Indicator |  | NGBS Land Development Practice
DRE2 Site selection requirements |  | NGBS
◊ Connect to multi-modal transit networks | ☑️ | 405.6 Multi-Modal Transportation
◊ Locate projects within existing developed areas | ☑️ | 401.1 Infill Site
◊ Protect, restore, and conserve aquatic ecosystems | ☑️ | 405.5 Wetlands
◊ Protect, restore, and conserve farmland | ☑️ | 403.12 Environmentally Sensitive Areas
◊ Protect, restore, and conserve floodplain functions | ☑️ | 403.5 Stormwater Management
◊ Protect, restore, and conserve habitats for native, threatened and endangered species | ☑️ | 404.4 Wildlife Habitat
◊ Protect, restore, and conserve historical and heritage sites | ☑️ | 405.4 Planning
◊ Redevelop brownfield sites | ☑️ | 401.3 Brownfield Site
NGBS Alignment with indicator DRE2 | 100%
DRE3 Site Design and Construction Requirements |  | NGBS
◊ Manage waste by diverting construction and demolition materials from disposal | ☑️ | 403.11 Demolition of Existing Building
◊ Manage waste by diverting reusable vegetation, rocks, and soil from disposal | ☑️ | 403.10 Existing and Recycled Materials
◊ Minimize light pollution to the surrounding community
◊ Minimize noise pollution to the surrounding community
◊ Perform environmental site assessment | ☑️ | 403.12 Environmental Site Assessment
◊ Protect air quality during construction
◊ Protect and restore habitat and soils disturbed during construction and/or during previous development | ☑️ | 403.4 Soil Disturbance and Erosion
◊ Protect surface water and aquatic ecosystems by controlling and retaining construction pollutants | ☑️ | 403.5 Stormwater Management
NGBS Alignment with indicator DRE2 | 62.5%
DBC1.1 Green building standard requirements |  | NGBS
Does the entity’s development portfolio include projects that are aligned with green building rating standards?
◊ 1-The entity requires projects to align with requirements of a third-party green building rating system but does not require certification
◊ 2-The entity requires projects to achieve certification with a green building rating system but does not require a specific level of certification
◊ 3-The entity requires projects to achieve a specific level of certification | ☑️ | NGBS Land Development (One through Four Stars)
NGBS Alignment with indicator DBC1.1 | 100%

## Point Calculator
GRESB Point Calculator
NGBS New Construction | GRESB Indicator | Indicator Point Total | Scoring Potential with NGBS | Notes
| DRE1 ESG strategy during development | 4 | 3 | The second part of DRE1 asks if the ESG strategy is publicly available or not
| DRE2 Site selection requirements | 4 | 4 | Meets total scoring potential
| DRE3 Site Design and Construction Requirements | 4 | 4 | Meets total scoring potential
| DMA1 Materials selection requirements | 6 | 5 | Health product declarations is not addressed by NGBS
| DMA2.1 Life cycle assessments | Not scored | N/A | N/A
| DEN1 Energy efficiency requirements | 6 | 6 | Meets total scoring potential
| DEN2.1 On-site renewable energy | 6 | 6 | Entity must include % of projects designed to generate on-site solar
| DEN2.2 Net zero carbon design and standards | 2 | 2 | Meets total scoring potential
| DWT1 Water conservation strategy | 5 | 4.375 | Only half of operational water efficiency monitoring points met by NGBS
| DWS1 Waste management strategy | 5 | 5 | Meets total scoring potential
| DSE1 Health and Wellbeing | 2 | 1.25 | The first section of DSE1 "requirements for planning and design" is not addressed
| DBC1.1 Green Building Standard Requirements | 4 | 4 | Full points will only be achieved if the full portfolio receives certification
| Point total for all GRESB Indicator | 48 | 44.625 | If all applicable NGBS practices are used
NGBS Land Development | GRESB Indicator | Indicator Point Total | Scoring Potential with NGBS | Notes
| DRE2 Site selection requirements | 4 | 4 | Meets total scoring potential
| DRE3 Site Design and Construction Requirements | 4 | 4 | Meets total scoring potential
| DBC1.1 Green Building Standard Requirements | 4 | 4 | Full points will only be achieved if the full portfolio receives certification
| Point total for all GRESB Indicator | 12 | 12 | If all applicable NGBS practices are used
NGBS Existing Buildings | GRESB Indicator | Indicator Point Total | Scoring Potential with NGBS | Notes
| DRE1 ESG strategy during development | 4 | 3 | The second part of DRE1 asks if the ESG strategy is publicly available or not
| DRE2 Site selection requirements | 4 | 4 | Meets total scoring potential
| DRE3 Site Design and Construction Requirements | 4 | 4 | Meets total scoring potential
| DMA1 Materials selection requirements | 6 | 5 | Health product declarations is not addressed by NGBS
| DMA2.1 Life cycle assessments | Not scored | N/A | N/A
| DEN1 Energy efficiency requirements | 6 | 6 | Meets total scoring potential
| DEN2.1 On-site renewable energy | 6 | 6 | Entity must include % of projects designed to generate on-site solar
| DEN2.2 Net zero carbon design and standards | 2 | 2 | Meets total scoring potential
| DWT1 Water conservation strategy | 5 | 4.375 | Only half of operational water efficiency monitoring points met by NGBS
| DWS1 Waste management strategy | 5 | 5 | Meets total scoring potential
| DSE1 Health and Wellbeing | 2 | 1.25 | The first section of DSE1 "requirements for planning and design" is not addressed
| DBC1.1 Green Building Standard Requirements | 4 | 4 | Full points will only be achieved if the full portfolio receives certification
| Point total for all GRESB Indicator | 48 | 44.625 | If all applicable NGBS practices are used
NGBS Single-Family Certified | GRESB Indicator | Indicator Point Total | Scoring Potential with NGBS | Notes
| DRE1 ESG strategy during development | 4 | 3 | The second part of DRE1 asks if the ESG strategy is publicly available or not
| DMA1 Materials selection requirements | 6 | 1 | The certified path only addresses low emitting VOC materials
| DEN1 Energy efficiency requirements | 6 | 5 | The certified path does not address operation energy efficiency monitoring
| DWT1 Water conservation strategy | 5 | 2.5 | The certified path does not address operation water efficiency monitoring
| DSE1 Health and Wellbeing | 2 | 0.75 | The first section of DSE1 "requirements for planning and design" is not addressed
| DBC1.1 Green Building Standard Requirements | 4 | 3 | Points will only be achieved if the full portfolio receives certification
| Point total for all GRESB Indicator | 27 | 15.25 | If all applicable NGBS practices are used

## Green Certified Products
NGBS Green Certified Products
505.2 Heat Island Mitigation
CertainTeed Flintlastic® CoolStar® - GMS, GTA, GTA-FR, GTS-FR, FR-P, Premium FR-P, SA Cap, SA Cap FR
CertainTeed Landmark Solaris Shingles--Crystal Gray
604.1 Recycled-Content Building Materials
CertainTeed CedarBoards Insulated Siding
CertainTeed InsulPure™ Batt & Roll Fiberglass Insulation
CertainTeed M2Tech and Easi-Lite Gypsum Board Products
CertainTeed Metal Building Insulation
CertainTeed Northern White Fibre Glass Blowing Insulation
CertainTeed Premium Blowing Wool Insulation - InsulSafe® SP, OPTIMA®, TrueComfort®, InsulSafe® XC
CertainTeed Rigid Liner Board with ToughGard Facing
CertainTeed SoftTouch Duct Wrap (Unfaced, FSK, PSK)
CertainTeed Sustainable Insulation™ Batt & Roll Insulation
CertainTeed TrueComfort® Canada
CertainTeed Universal Blanket, Commercial Board (FSK, ASJ, WMP Faced, Unfaced), OEM Board, High Temperature Blanket, AcoustaBlanket Black
CertainTeed WinterGuard® Granular Waterproofing Shingle Underlayment
Revolution Construction Poly Sheeting
Rollex Aluminum Drip Edge
Rollex Aluminum Gutter & Downspout Systems (Sectional & Seamless)
Rollex Aluminum Siding, Soffit, Fascia, Accessories and Trim Coil
Rollex Steel Siding
SmartBase Hybrid - Recycled Paving Sub-base and Engineered Materials
Style Crest HOMEX™ Siding and Soffit
Style Crest RMC Siding™ and Soffit
Style Crest Specialty Siding and Soffit
606.1 Biobased Products
606.1 (1) | Boise Cascade Versa-Rim® Rimboard
Patriot Timber Family of Panel Products
Patriot Timber Products - IronPly® Premium Underlayment
Patriot Timber Products - PatriotBead® Plywood Beadboard
Patriot Timber Products - RevBead® Reversible Plywood Beadboard
Patriot Timber Products - RevolutionPly®
Patriot Timber Products - RightPly™ Plywood
Patriot Timber Products - SurePly® Premium Underlayment
606.1 (1-3) | BamCore Prime Wall System
Nordic I-Joists
Nordic Lam Products
Weyerhaeuser Flooring and Sheathing--Edge(TM), Edge Gold(TM), Radiant Barrier
Weyerhaeuser Joists--Trus Joist® TimberStrand® LSL, Trus Joist® Parallam® PSL, Microllam® LVL
Weyerhaeuser Lumber-Framer Series®, Green Stud, Premium™ Joist
Weyerhaeuser Trus Joist® StrandGuard® TimberStrand LSL
Weyerhaeuser Trus Joist® TJI® Joist
606.1 (2) | Boise Cascade AJS® I-Joists
Boise Cascade BCI® Joists
Boise Cascade Versa-Lam®/Versa-Stud® Laminated Veneer Lumber
Patriot Timber Family of Panel Products
Patriot Timber Products - IronPly® Premium Underlayment
Patriot Timber Products - PatriotBead® Plywood Beadboard
Patriot Timber Products - RevBead® Reversible Plywood Beadboard
Patriot Timber Products - RevolutionPly®
Patriot Timber Products - RightPly™ Plywood
Patriot Timber Products - SurePly® Premium Underlayment
606.2 (1) Wood-Based Products
606.2 (1) | Patriot Timber Products - PatriotBead® Plywood Beadboard
Nordic Lam Products
Patriot Timber Products - RevBead® Reversible Plywood Beadboard
Nordic X-Lam Products
Patriot Timber Products - RevolutionPly®
Patriot Timber Products - RightPly™ Plywood
Patriot Timber Products - SurePly® Premium Underlayment
Weyerhaeuser Flooring and Sheathing--Edge(TM), Edge Gold(TM), Radiant Barrier
606.2 (2) | Weyerhaeuser Joists--Trus Joist® TimberStrand® LSL, Trus Joist® Parallam® PSL, Microllam® LVL
Weyerhaeuser Trus Joist® StrandGuard® TimberStrand LSL
Weyerhaeuser Trus Joist® TJI® Joist
606.3 Manufacturing energy
Nordic I-Joists
Nordic Lam Products
609.1 Regional Materials
CertainTeed Membrain Continuous Air Barrier and Smart Vapor Retarder
610.1.2.1 Product LCA
CertainTeed and Vytec Vinyl Siding and Soffit
CertainTeed Cedar Impressions
CertainTeed CedarBoards Insulated Siding
CertainTeed M2Tech and Easi-Lite Gypsum Board Products
CertainTeed Premium Blowing Wool Insulation - InsulSafe® SP, OPTIMA®, TrueComfort®, InsulSafe® XC
CertainTeed Restoration Millwork
CertainTeed Sustainable Insulation™ Batt & Roll Insulation
Koppers MicroPro® Wood Preservation Technology
Corzan® Piping Systems
FlowGuard® Gold Pipe & Fittings
611.1.2 Product Specific Declaration
CertainTeed M2Tech and Easi-Lite Gypsum Board Products
CertainTeed Premium Blowing Wool Insulation - InsulSafe® SP, OPTIMA®, TrueComfort®, InsulSafe® XC
CertainTeed SoftTouch Duct Wrap (Unfaced, FSK, PSK)
901.4 (1) Wood Materials
Boise Cascade BCI® Joists
Koppers Hi-bor/Advance Guard Wood Preservative Technology
Koppers MicroPro® Wood Preservation Technology
Nordic I-Joists
901.5 (2) Cabinets
Timberlake Kitchen & Bathroom Cabinetry
901.8 Wall Covering
Corian® Quartz
Corian® Solid Surface
901.11 Insulation
CertainTeed CertaSeal
CertainTeed InsulPure™ Batt & Roll Fiberglass Insulation
CertainTeed Metal Building Insulation
CertainTeed Premium Blowing Wool Insulation - InsulSafe® SP, OPTIMA®, TrueComfort®, InsulSafe® XC
CertainTeed Sustainable Insulation™ Batt & Roll Insulation
CertainTeed ToughGard® Rotary Duct Liner
CertainTeed TrueComfort® Canada
902.2 Building Ventilation Systems
Panasonic Energy Recovery Ventilator; Intelli-balance 100, FV-10VEC1, FV10VE1
Panasonic Energy-Recovery Ventilator; WhisperComfort FV-04VE1
Panasonic Exhaust Ventilation Fan. Whisper ValueDC FV-0510VSC1, FV0510VSCL1
Panasonic Exhaust Ventilation Fan. Whisper ValueDC FV-0810VSS1, FV0510VS1, FV-0510VSL1, FV-0810VSSL1
Panasonic Exhaust Ventilation Fan; Whisper Ceiling DC, FV-0511VQ1, FV-115VQ1, FV-0511VQL1, FV1115VQL1, FV-20VQ3, FV-30VQ3
Panasonic Exhaust Ventilation Fan; Whisper FITEZDC FV-0511VFC1
903.3 (1) Relative Humidity
IW25-4 IN Wall/ On Wall Dehumidifier with Bi-Polar Ion Generator
IW25-4 IN Wall Dehumidifier with Bi-Polar Ion Generator